## Sheet1
starters | KW
DOL | 5.5
SS | 7.5

## Sheet2
Sl.No | Rev No | Number | Machine | Alarm message | Designation | Make | Power | Current | Voltage | Remarks | Buhler standard | Bldg. | Level | Unnamed: 14 | Unnamed: 15 | Unnamed: 16 | Unnamed: 17 | Unnamed: 18 | Unnamed: 19 | Unnamed: 20 | Unnamed: 21 | Unnamed: 22 | Unnamed: 23
| 0 | 0001-MXZ01 | Compressor | Compressor- drive | Motor (KA) ????rpm |  | 30 |  | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m
| 0 | 0001-BPS01 | Compressor | 92283-PFD-0001-03 |  |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 0001-KCU01 | Drier After cooler | After cooler - control | After cooler |  |  |  | 230 VAC | Customer Supply |  | Plant | +0.00m
| 0 | 0001-KCU02 | Drier | Drier - control | Drier |  |  |  | 230 VAC | Customer Supply |  | Plant | +0.00m
| 0 | 1001-BZS01 | PS 1 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1001-BZS02 | PS 1 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1001-QXV01 | PS 1 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1002-MXZ01 | C-E1 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 1002-BSA01 | C-E1 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1003-BZS01 | PD1 | Diverter- to Magnet above Bin1 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 1003-BZS02 | PD1 | Diverter- to Elevator C-E2 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 1003-QXV01 | PD1 | Diverter- to Magnet above Bin1 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1003-QXV02 | PD1 | Diverter- to Elevator C-E2 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 1004-BLH01 | Level sensor | Bin-1 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1005-BLL01 | Level sensor | Bin-1 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1006-BZS01 | PS 2 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1006-BZS02 | PS 2 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1006-QXV01 | PS 2 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1007-PWC01 | MSDM-80 | MSDM Differential dosing scale - control | Weigher |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 1008-MXZ01 | C-E2 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 1008-BSA01 | C-E2 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1009-MXZ01 | C-SC1 | Screw conveyer drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 1009-BZS01 | C-SC1 | Screw conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1010-BZS01 | PS 3 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1010-BZS02 | PS 3 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1010-QXV01 | PS 3 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1011-BLH01 | Level sensor | Temp Bin-1 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1012-BLH01 | Level sensor | Temp Bin-2 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1013-BLL01 | Level sensor | Temp Bin-1 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1014-BLL01 | Level sensor | Temp Bin-2 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1015-PWC01 | MZAL-15 A | Flow Balancer - control | Flow Balancer | Buhler |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 0 | 1016-PWC01 | MZAL-15 B | Flow Balancer - control | Flow Balancer | Buhler |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 0 | 1017-MXZ01 | C-SC2 | Screw conveyer drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 1017-BZS01 | C-SC2 | Screw conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1018-MXZ01 | C-E3 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 1018-BSA01 | C-E3 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1019-BLH01 | Level sensor | Bin-2 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1020-BLL01 | Level sensor | Bin-2 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +3.50m
| 0 | 1021-BZS01 | PS 4 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1021-BZS02 | PS 4 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1021-QXV01 | PS 4 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1022-MXZ01 | LAGA | LAGA Screening machine- Drive | Motor (RV) 1000/950 rpm |  | 0.37 | 1.8 | 400VAC 50Hz | Buhler Supply | LAGA-14342-001* | Plant | +3.50m | [9 empty] | 1
| 0 | 1022-MXZ02 | LAGA | LAGA Screening machine- Drive | Motor (RV) 1000/950 rpm |  | 0.75 | 1.8 | 400VAC 50Hz | Buhler Supply | LZNN-15986-001 * | Plant | +3.50m | [9 empty] | 1
| 0 | 1022-QXV01 | LAGA | LAGA -Circular stroke monitor | Proximity switch |  |  |  | 24VDC | Buhler Supply | UXE -26310-193 | Plant | +0.00m
| 0 | 1022-QXV01 | LAGA | LAGA -Actuator for throttle valve electrical | Multi-turn actuator |  |  |  | 24VDC | Buhler Supply | UXE -26613-023 | Plant | +0.00m
| 0 | 1023-PWC01 | Load Cell | Load Cell - control |  | Buhler |  |  | 230 VAC | Customer Supply |  | Plant | +3.50m
| 0 | 1024-PWC01 | Load Cell | Load Cell - control |  | Buhler |  |  | 230 VAC | Customer Supply |  | Plant | +3.50m
| 0 | 1025-MXZ01 | C-E4 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 1025-BSA01 | C-E3 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1026-MXZ01 | DFRT 310/340 | Rotary Magnet- Drive | Motor (RV) 1000/950 | Buhler | 0.37 | 1.2 | 400VAC 50Hz | Buhler Supply | UXM-17181 | Plant | +3.50m | [9 empty] | 1
| 0 | 1026-KCU01 | DFRT 310/340 | Linear Drive |  | Buhler |  |  | 24VDC | Buhler Supply | UXM -56011-214 | Plant | +3.50m
| 0 | 1026-BZS01 | DFRT 310/340 | switch - close | switch - close | Buhler |  |  | 24VDC | Buhler Supply | UNE-26310-131 | Plant | +3.50m
| 0 | 1026-BZS02 | DFRT 310/340 | switch - open | switch - open | Buhler |  |  | 24VDC | Buhler Supply | UNE-26310-131 | Plant | +3.50m
| 0 | 1027-BLH01 | Level sensor | Bin-3 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1028-BLL01 | Level sensor | Bin-3 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1029-BZS01 | PS 5 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1029-BZS02 | PS 5 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1029-QXV01 | PS 5 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1030-MXZ01 | MTSD 120/120 'A' | MTSD Destoner-drive | Motor (RV) 1000/950 rpm |  | 0.3 | 1.8 | 400VAC 50Hz | Buhler Supply | UXM-46089-114 | Plant | +3.50m | [9 empty] | 1
| 0 | 1030-MXZ02 | MTSD 120/120 'A' | MTSD Destoner-drive | Motor (RV) 1000/950 rpm |  | 0.3 | 1.8 | 400VAC 50Hz | Buhler Supply | UXM-46089-114 | Plant | +3.50m | [9 empty] | 1
| 0 | 1030-EXL01 | MTSD 120/120 'A' | MTSD Destoner-lighting | Machine lighting |  | 40W |  | 230 VAC | Buhler Supply |  | Plant | +3.50m
| 0 | 1031-MXZ01 | B-CC8 | Chain conveyer drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 1031-BZS01 | B-CC8 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 1031-BZA01 | B-CC8 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1032-MXZ01 | Blower -1 | Blower "A" - Drive | Motor | Aerzen | 4 | 7.6 | 400VAC 50Hz | Buhler Supply |  | Plant | ±0.00m | [9 empty] | 1
| 0 | 1033-BPS01 | Pn conveing line | Pn conv line - low/high pressure | Pressure switch |  |  |  | 24VDC | Buhler Supply |  |  | ±0.00m
| 0 | 1034-MXZ01 | MPSN-28/30 | Airlock - Drive | Motor |  | 1.1 | 2.6 | 400VAC 50Hz | Buhler Supply |  | Plant | +1.00m | [9 empty] | 1
| 0 | 1035-KFC01 | MVRT-104/24 | Bag Filter- Control | Bag Filter |  |  |  | 230 VAC | Buhler Supply |  | Plant | +3.50m
| 0 | 1035-QXV01 | MVRT-104/24 | Bag Filter- Solenoid valve | Bag Filter |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 1035-QXV01 | MVRT-104/24 | Bag Filter- Solenoid valve for Hammer | Bag Filter -Hammer |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 1035-KLL01 | MVRT-104/24 | Bag Filter- level Indicator | Low level Indicator |  |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 0 | 1035-KFL01 | MVRT-104/24 | Bag Filter- Bursting Indicator | Low level Indicator |  |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 0 | 1036-BDE01 | Dust Detector sensor | for MVRT-104/24 | Dust Detector sensor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 1 | 1037-MXZ01 | Fan 1 for Filter MVRT-104/24 | Fan 1- Drive | Motor |  | 30 | 54 | 400VAC 50Hz | Customer Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 1038-QXV01 | PVD Valve | PVD- Solenoid valve | PVD Valve |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 1039-MXZ01 | MPSN-25/23 | Airlock - Drive | Motor |  | 1.5 | 3 | 400VAC 50Hz | Buhler Supply |  | Plant | +1.00m | [9 empty] | 1
| 0 | 1040-KFC01 | MVRT-39/24 | Bag Filter- Control | Bag Filter |  |  |  | 230 VAC | Buhler Supply |  | Plant | +3.50m
| 0 | 1040-QXV01 | MVRT-39/24 | Bag Filter- Solenoid valve | Bag Filter |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 1040-QXV01 | MVRT-39/24 | Bag Filter- Solenoid valve for Hammer | Bag Filter -Hammer |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 1040-KLL01 | MVRT-39/24 | Bag Filter- level Indicator | Low level Indicator |  |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 0 | 1040-KFL01 | MVRT-39/24 | Bag Filter- Bursting Indicator | Low level Indicator |  |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 2 | 1041-BDE01 | Dust Detector sensor | for MVRT-39/24 | Dust Detector sensor |  |  |  | 24VDC | Deleted |  | Plant | +0.00m
| 2 | 1042-MXZ01 | Fan 2 for Filter MVRT-39/24 | Fan 2- Drive | Motor |  | 15 | 29.5 | 400VAC 50Hz | Customer Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 1043-MXZ01 | C-SC3 | Screw conveyer drive | Motor (GM) 1440rpm |  | 1.5 | 3.4 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 1043-BZS01 | C-SC3 | Screw conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 1044-MXZ01 | G-E1 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 1044-BSA01 | G-E1 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 1045-BZS01 | PD2 | Diverter- to above Bin4 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 1045-BZS02 | PD2 | Diverter- to Elevator G-E2 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 1045-QXV01 | PD2 | Diverter- to above Bin4 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 1045-QXV02 | PD2 | Diverter- to Elevator G-E2 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 1 | 1046-MXZ01 | Spare Feeder | Spare Feeder for Drive | Motor (GM) 1440rpm |  | 1.1 | 2.6 | 400VAC 50Hz | Spare Feeder |  | Plant | +10.00m | [9 empty] | 1
| 1 | 1047-MXZ01 | Spare Feeder | Spare Feeder for Drive | Motor (GM) 1440rpm |  | 1.1 | 2.6 | 400VAC 50Hz | Spare Feeder |  | Plant | +10.00m | [9 empty] | 1
| 1 | 1048-MXZ01 | Spare Feeder | Spare Feeder for Drive | Motor (GM) 1440rpm |  | 1.4 | 3.4 | 400VAC 50Hz | Spare Feeder |  | Plant | +10.00m | [9 empty] | 1
| 1 | 1049-MXZ01 | Spare Feeder | Spare Feeder for Drive | Motor (GM) 1440rpm |  | 1.4 | 3.4 | 400VAC 50Hz | Spare Feeder |  | Plant | +10.00m | [9 empty] | 1
| 1 | 1050-MXZ01 | Spare Feeder | Spare Feeder for Drive | Motor (GM) 1440rpm |  | 1.4 | 3.4 | 400VAC 50Hz | Spare Feeder |  | Plant | +10.00m | [9 empty] | 1
| 0 | 2001-BZS01 | PS 6 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2001-BZS02 | PS 6 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2001-QXV01 | PS 6 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2002-BZS01 | PS 7 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2002-BZS02 | PS 7 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2002-QXV01 | PS 7 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2003-MXZ01 | DRGA -3DPZ "A" | DRGA-3D Drum grader-drive | Motor |  | 1.1 | 2.54 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 2003-VA01 | DRGA -3DPZ "A" | DRGA-3D Drum grader frequency convertor | Frequency Convertor |  |  |  | 400VAC 50Hz | Future Supply |  | Plant | +3.50m
| 0 | 2004-MXZ01 | G-E2 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 2004-BSA01 | G-E2 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2005-BZS01 | PD3 | Diverter- to above Bin 5 & 6 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 2005-BZS02 | PD3 | Diverter- to Elevator S-E1 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 2005-QXV01 | PD3 | Diverter- to above Bin 5 & 6 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2005-QXV02 | PD3 | Diverter- to Elevator S-E1 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 2006-BZS01 | PS 8 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2006-BZS02 | PS 8 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2006-QXV01 | PS 8 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2007-BZS01 | PS 9 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2007-BZS02 | PS 9 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2007-QXV01 | PS 9 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2008-MXZ01 | DRGA -3DPZ "B" | DRGA-3D Drum grader-drive | Motor |  | 1.1 | 2.54 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 2008-VA01 | DRGA -3DPZ "B" | DRGA-3D Drum grader frequency convertor | Frequency Convertor |  |  |  | 400VAC 50Hz | Future Supply |  | Plant | +3.50m
| 0 | 2009-BZS01 | PS 10 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2009-BZS02 | PS 10 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2009-QXV01 | PS 10 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2010-BZS01 | PS 11 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2010-BZS02 | PS 11 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2010-QXV01 | PS 11 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2011-MXZ01 | DRGA -3DPZ "C" | DRGA-3D Drum grader-drive | Motor |  | 1.1 | 2.54 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 2011-VA01 | DRGA -3DPZ "C" | DRGA-3D Drum grader frequency convertor | Frequency Convertor |  |  |  | 400VAC 50Hz | Future Supply |  | Plant | +3.50m
| 0 | 2012-MXZ01 | MPSN-28/30 | Airlock - Drive | Motor |  | 1.1 | 2.6 | 400VAC 50Hz | Future Supply |  | Plant | +1.00m | [9 empty] | 1
| 0 | 2013-KFC01 | MVRT-52/24 | Bag Filter- Control | Bag Filter |  |  |  | 230 VAC | Future Supply |  | Plant | +3.50m
| 0 | 2013-QXV01 | MVRT-52/24 | Bag Filter- Solenoid valve | Bag Filter |  |  |  | 24VDC | Future Supply |  | Plant | +3.50m
| 0 | 2013-QXV01 | MVRT-52/24 | Bag Filter- Solenoid valve for Hammer | Bag Filter -Hammer |  |  |  | 24VDC | Future Supply |  | Plant | +3.50m
| 0 | 2013-KLL01 | MVRT-52/24 | Bag Filter- level Indicator | Low level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2013-KFL01 | MVRT-52/24 | Bag Filter- Bursting Indicator | Low level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 2 | 2014-BDE01 | Dust Detector sensor | for MVRT-52/24 | Dust Detector sensor |  |  |  | 24VDC | Deleted |  | Plant | +0.00m
| 1 | 2015-MXZ01 | Fan 3 for Filter MVRT-52/24 | Fan 3- Drive | Motor |  | 15 | 29.5 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 2016-MXZ01 | S-E1 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.25 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 2016-BSA01 | S-E1 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 2017-BZS01 | PD4 | Diverter- to above Bin7 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 2017-BZS02 | PD4 | Diverter- to Elevator S-E4 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 2017-QXV01 | PD4 | Diverter- to above Bin7 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 2017-QXV02 | PD4 | Diverter- to Elevator S-E4 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 2018-BLH01 | Level sensor | Bin-7 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 2019-BLL01 | Level sensor | Bin-8 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 2020-BLH01 | Level sensor | Bin-9 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3001-BLH01 | Level sensor | Bin-9 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3002-PWC01 | Sortex-S6 | Sortex S6 - control | Color sorter | Buhler |  |  | 230 VAC | Buhler Supply |  | Plant | +3.50m
| 0 | 3003-BLH01 | Level sensor | Bin-10 | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 3004-BLL01 | Level sensor | Bin-10 | Low level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 3005-BLH01 | Level sensor | Bin-11 | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 3006-BLH01 | Level sensor | Bin-12 | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 3007-PWC01 | Sortex-S6 | Sortex S6 - control | Color sorter | Buhler |  |  | 230 VAC | Future Supply |  | Plant | +3.50m
| 0 | 3008-MXZ01 | S-E2 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 1.1 | 2.6 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 3008-BSA01 | S-E2 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3009-MXZ01 | S-E3 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 1.5 | 3.4 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 3009-BSA01 | S-E3 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3010-MXZ01 | S-E4 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 3010-BSA01 | S-E4 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3011-PWC01 | MSDM-80 | MSDM Differential dosing scale - control | Weigher |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 3012-BLH01 | MSDM-80 | MSDM Differential dosing scale - Level High | High level Indicator |  |  |  | 24VDC | Buhler Supply |  | Plant | +0.00m
| 0 | 3012-BLH01 | Level sensor | Bin-13 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3013-BLL01 | Level sensor | Bin-13 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3014-BZS01 | PS 12 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3014-BZS02 | PS 12 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3014-QXV01 | PS 12 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 3015-MXZ01 | G-E3 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 3015-BSA01 | G-E3 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4001-BZS01 | PS 13 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4001-BZS02 | PS 13 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4001-QXV01 | PS 13 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4002-BZS01 | PS 14 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4002-BZS02 | PS 14 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4002-QXV01 | PS 14 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4003-BZS01 | PS 15 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4003-BZS02 | PS 15 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4003-QXV01 | PS 15 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4004-MXZ01 | Length Grader A | Length Grader-Drive | Motor (KA) 1500 rpm |  | 3 | 6.5 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 4005-MXZ01 | Length Grader B | Length Grader-Drive | Motor (KA) 1500 rpm |  | 3 | 6.5 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 4006-MXZ01 | Length Grader C | Length Grader-Drive | Motor (KA) 1500 rpm |  | 3 | 6.5 | 400VAC 50Hz | Future Supply |  | Plant | +3.50m | [9 empty] | 1
| 0 | 4007-MXZ01 | G-E4 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 4007-BSA01 | G-E4 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4008-BZS01 | PD5 | Diverter- to above Bin7 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 4008-BZS02 | PD5 | Diverter- to Elevator S-E4 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 4008-QXV01 | PD5 | Diverter- to above Bin7 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4008-QXV02 | PD5 | Diverter- to Elevator S-E4 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 4009-PWC01 | MSDM-80 | MSDM Differential dosing scale - control | Weigher |  |  |  | 24VDC | Future Supply |  | Plant | +3.50m
| 0 | 4009-BLH01 | MSDM-80 | MSDM Differential dosing scale - Level High | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4010-MXZ01 | G-E5 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 1.1 | 2.6 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 4010-BSA01 | G-E5 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4011-BZS01 | PD6 | Diverter- to above Bin7 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 4011-BZS02 | PD6 | Diverter- to Elevator S-E4 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 4011-QXV01 | PD6 | Diverter- to above Bin7 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4011-QXV02 | PD6 | Diverter- to Elevator S-E4 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 4012-PWC01 | MSDM-80 | MSDM Differential dosing scale - control | Weigher |  |  |  | 24VDC | Future Supply |  | Plant | +3.50m
| 0 | 4012-BLH01 | MSDM-80 | MSDM Differential dosing scale - Level High | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 4013-MXZ01 | G-E6 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 1.1 | 2.6 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 4013-BSA01 | G-E6 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 5001-MXZ01 | C2E-1 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 5001-BSA01 | C2E-1 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5002-BLH01 | Level sensor | Bin-15 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5003-BLL01 | Level sensor | Bin-15 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5004-BZS01 | PS 16 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5004-BZS02 | PS 16 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5004-QXV01 | PS 16 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5005-PWC01 | MSDM-80 | MSDM Differential dosing scale - control | Weigher |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 5006-MXZ01 | C2E-2 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 5006-BSA01 | C2E-2 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5007-BZS01 | PD7 | Diverter- to above Bin 16 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 5007-BZS02 | PD7 | Diverter- to above Bin 17 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 5007-QXV01 | PD7 | Diverter- to above Bin 16 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5007-QXV02 | PD7 | Diverter- to above Bin 17 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 5008-BLH01 | Level sensor | Bin-16 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5009-BLH01 | Level sensor | Bin-17 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5010-BLL01 | Level sensor | Bin-16 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5011-BLL01 | Level sensor | Bin-17 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5012-BZS01 | PS 17 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5012-BZS02 | PS 17 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5012-QXV01 | PS 17 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5013-BZS01 | PS 18 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5013-BZS02 | PS 18 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5013-QXV01 | PS 18 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5014-MXZ01 | B-CC3 | Chain conveyer drive | Motor (GM) 1440rpm |  | 2.2 | 5 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 5014-BZS01 | B-CC3 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 5014-BZA01 | B-CC3 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5015-BSA01 | C2E-3 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5016-BLH01 | Level sensor | Bin-18 | High level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 5017-BLL01 | Level sensor | Bin-18 | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 5018-BZS01 | PS 19 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 5018-BZS02 | PS 19 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 5018-QXV01 | PS 19 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 5019-MXZ01 | LAGA | LAGA Screening machine- Drive | Motor (RV) 1000/950 rpm |  | 0.37 | 1.8 | 400VAC 50Hz | Customer Supply -Existing | LAGA-14342-001* | Plant | +3.50m | [9 empty] | 1
| 0 | 5019-MXZ02 | LAGA | LAGA Screening machine- Drive | Motor (RV) 1000/950 rpm |  | 0.75 | 1.8 | 400VAC 50Hz | Customer Supply -Existing | LZNN-15986-001 * | Plant | +3.50m | [9 empty] | 1
| 0 | 5019-QXV01 | LAGA | LAGA -Circular stroke monitor | Proximity switch |  |  |  | 24VDC | Customer Supply -Existing | UXE -26310-193 | Plant | +0.00m
| 0 | 5019-QXV01 | LAGA | LAGA -Actuator for throttle valve electrical | Multi-turn actuator |  |  |  | 24VDC | Customer Supply -Existing | UXE -26613-023 | Plant | +0.00m
| 0 | 5020-PWC01 | Load Cell | Load Cell - control |  | Buhler |  |  | 230 VAC | Customer Supply |  | Plant | +3.50m
| 0 | 5021-PWC01 | Load Cell | Load Cell - control |  | Buhler |  |  | 230 VAC | Customer Supply |  | Plant | +3.50m
| 0 | 5022-MXZ01 | C2E-4 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 5022-BSA01 | C2E-4 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5023-BLH01 | Level sensor | Bin-19 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5024-BLL01 | Level sensor | Bin-19 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5025-BZS01 | PS 20 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5025-BZS02 | PS 20 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5025-QXV01 | PS 20 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5026-PWC01 | MSDM-80 | MSDM Differential dosing scale - control | Weigher |  |  |  | 24VDC | Buhler Supply |  | Plant | +3.50m
| 0 | 5027-MXZ01 | C2E-5 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 5027-BSA01 | C2E-5 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5028-BZS01 | PD8 | Diverter- to CC6 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 5028-BZS02 | PD8 | Diverter- to CC2 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 5028-QXV01 | PD8 | Diverter- to CC6 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 5028-QXV02 | PD8 | Diverter- to CC2 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 5029-MXZ01 | MPSN-28/30 | Airlock - Drive | Motor |  | 1.1 | 2.6 | 400VAC 50Hz | Customer Supply -Existing |  | Plant | +1.00m | [9 empty] | 1
| 0 | 5030-KFC01 | MVRT-78/24 | Bag Filter- Control | Bag Filter |  |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 5030-QXV01 | MVRT-78/24 | Bag Filter- Solenoid valve | Bag Filter |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 5030-QXV01 | MVRT-78/24 | Bag Filter- Solenoid valve for Hammer | Bag Filter -Hammer |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 5030-KLL01 | MVRT-78/24 | Bag Filter- level Indicator | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 5030-KFL01 | MVRT-78/24 | Bag Filter- Bursting Indicator | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 2 | 5031-BDE01 | Dust Detector sensor | for MVRT-78/24 | Dust Detector sensor |  |  |  | 24VDC | Deleted |  | Plant | +0.00m
| 1 | 5032-MXZ01 | Fan 4 for Filter MVRT-78/24 | Fan 4- Drive | Motor |  | 15 | 29.5 | 400VAC 50Hz | Customer Supply -Existing |  | Plant | +3.50m | [9 empty] | 1
| 0 | 6001-MXZ01 | B-CC6 | Chain conveyer drive | Motor (GM) 1440rpm |  | 5.5 | 11.2 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 6001-BZS01 | B-CC6 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 6001-BZA01 | B-CC6 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6002-BZS01 | PS 21 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6002-BZS02 | PS 21 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6002-QXV01 | PS 21 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6003-MXZ01 | B-E1 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 6003-BSA01 | B-E1 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6004-BZS01 | PD9 | Diverter- to CC6 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 6004-BZS02 | PD9 | Diverter- to CC2 | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 6004-QXV01 | PD9 | Diverter- to CC6 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6004-QXV02 | PD9 | Diverter- to CC2 | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +10.00m
| 0 | 6005-MXZ01 | B-CC7 | Chain conveyer drive | Motor (GM) 1440rpm |  | 1.1 | 2.6 | 400VAC 50Hz | Future Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 6005-BZS01 | B-CC7 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 3 | 6005-BZA01 | B-CC7 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6006-BZS01 | PS 22 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6006-BZS02 | PS 22 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6006-QXV01 | PS 22 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6007-BZS01 | PS 23 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6007-BZS02 | PS 23 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6007-QXV01 | PS 23 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6008-MXZ01 | B-CC2 | Chain conveyer drive | Motor (GM) 1440rpm |  | 5.5 | 11.2 | 400VAC 50Hz | Customer Supply -Existing |  | Plant | +0.00m | [9 empty] | 1
| 0 | 6008-BZS01 | B-CC2 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 3 | 6008-BZA01 | B-CC2 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6009-BZS01 | PS 24 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6009-BZS02 | PS 24 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6009-QXV01 | PS 24 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6010-BZS01 | PS 25 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6010-BZS02 | PS 25 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6010-QXV01 | PS 25 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 6011-BLH01 | Level sensor | Bin-20 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6012-BLH01 | Level sensor | Bin-21 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6013-BLH01 | Level sensor | Bin-22 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6014-BLL01 | Level sensor | Bin-20 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6015-BLL01 | Level sensor | Bin-21 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6016-BLL01 | Level sensor | Bin-22 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6017-BZS01 | PS 26 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6017-BZS02 | PS 26 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6017-QXV01 | PS 26 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6018-BZS01 | PS 27 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6018-BZS02 | PS 27 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6018-QXV01 | PS 27 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6019-BZS01 | PS 28 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6019-BZS02 | PS 28 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6019-QXV01 | PS 28 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6020-MXZ01 | B-CC8 | Chain conveyer drive | Motor (GM) 1440rpm |  | 3.7 | 7.6 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 6020-BZS01 | B-CC8 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 6020-BZA01 | B-CC8 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6021-BZS01 | PS 29 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6021-BZS02 | PS 29 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6021-QXV01 | PS 29 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6022-MXZ01 | B-E2 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Future Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 6022-BSA01 | B-E2 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6023-BZS01 | PD10 | Diverter- to CC6 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 6023-BZS02 | PD10 | Diverter- to CC2 | Limit switch |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 6023-QXV01 | PD10 | Diverter- to CC6 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6023-QXV02 | PD10 | Diverter- to CC2 | Solenoid valve |  |  |  | 24VDC | Future Supply |  | Plant | +10.00m
| 0 | 6024-BLH01 | Level sensor | Bin-23 | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6025-BLH01 | Level sensor | Bin-24 | High level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6026-BLL01 | Level sensor | Bin-23 | Low level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6027-BLL01 | Level sensor | Bin-24 | Low level Indicator |  |  |  | 24VDC | Future Supply |  | Plant | +0.00m
| 0 | 6028-PWC01 | MZAL-15 C | Flow Balancer - control | Flow Balancer | Buhler |  |  | 24VDC | Future Supply |  | Plant | +3.50m
| 0 | 6029-PWC01 | MZAL-15 D | Flow Balancer - control | Flow Balancer | Buhler |  |  | 24VDC | Future Supply |  | Plant | +3.50m
| 0 | 6030-MXZ01 | B-E3 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 6030-BSA01 | B-E3 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6031-MXZ01 | MTRC 100/200 DL 'A' | MTRC Classifier - Drive | Motor (RV) 1000/950 rpm |  | 0.3 | 1.8 | 400VAC 50Hz | Buhler Supply | UXM-46055-114 | Plant | +3.50m | [9 empty] | 1
| 0 | 6031-MXZ02 | MTRC 100/200 DL 'A' | MTRC Classifier - Drive | Motor (RV) 1000/950 rpm |  | 0.3 | 1.8 | 400VAC 50Hz | Buhler Supply | UXM-46055-114 | Plant | +3.50m | [9 empty] | 1
| 0 | 6032-MXZ01 | B-E4 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 2.2 | 4.8 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 6032-BSA01 | B-E4 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 6033-BLH01 | Level sensor | Bin-25 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7001-BZS01 | PS 30 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7001-BZS02 | PS 30 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7001-QXV01 | PS 30 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7002-MXZ01 | B-CC4 | Chain conveyer drive | Motor (GM) 1440rpm |  | 3.7 | 7.6 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 7002-BZS01 | B-CC4 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 7002-BZA01 | B-CC4 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7003-BZS01 | PS 31 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7003-BZS02 | PS 31 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7003-QXV01 | PS 31 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7004-BZS01 | PS 32 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7004-BZS02 | PS 32 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7004-QXV01 | PS 32 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7005-MXZ01 | B-CC9 | Chain conveyer drive | Motor (GM) 1440rpm |  | 3.7 | 7.6 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 7005-BZS01 | B-CC9 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 7005-BZA01 | B-CC9 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7006-BZS01 | PS 33 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7006-BZS02 | PS 33 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7006-QXV01 | PS 33 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7007-BZS01 | PS 34 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7007-BZS02 | PS 34 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7007-QXV01 | PS 34 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7008-BLH01 | Level sensor | Bin-26 | High level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7009-BLH01 | Level sensor | Bin-27 | High level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7010-BLH01 | Level sensor | Bin-28 | High level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7011-BLH01 | Level sensor | Bin-29 | High level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7012-BLH01 | Level sensor | Bin-30 | High level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7013-BLH01 | Level sensor | Bin-31 | High level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7014-BLL01 | Level sensor | Bin-26 | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7015-BLL01 | Level sensor | Bin-27 | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7016-BLL01 | Level sensor | Bin-28 | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7017-BLL01 | Level sensor | Bin-29 | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7018-BLL01 | Level sensor | Bin-30 | Low level Indicator |  |  |  | 24VDC | Customer Supply -Existing |  | Plant | +0.00m
| 0 | 7019-BLL01 | Level sensor | Bin-31 | Low level Indicator |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7020-PWC01 | Load Cell | Load Cell - control for Bin 26 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7020-PWC02 | Load Cell | Load Cell - control for Bin 26 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7021-PWC01 | Load Cell | Load Cell - control for Bin 27 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7021-PWC02 | Load Cell | Load Cell - control for Bin 27 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7022-PWC01 | Load Cell | Load Cell - control for Bin 28 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7022-PWC02 | Load Cell | Load Cell - control for Bin 28 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7023-PWC01 | Load Cell | Load Cell - control for Bin 29 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7023-PWC02 | Load Cell | Load Cell - control for Bin 29 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7024-PWC01 | Load Cell | Load Cell - control for Bin 30 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7024-PWC02 | Load Cell | Load Cell - control for Bin 30 |  | Buhler |  |  | 230 VAC | Customer Supply -Existing |  | Plant | +3.50m
| 0 | 7025-PWC01 | Load Cell | Load Cell - control for Bin 31 |  | Buhler |  |  | 230 VAC | Customer Supply |  | Plant | +3.50m
| 0 | 7025-PWC02 | Load Cell | Load Cell - control for Bin 31 |  | Buhler |  |  | 230 VAC | Customer Supply |  | Plant | +3.50m
| 0 | 7026-BZS01 | PS 35 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7026-BZS02 | PS 35 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7026-QXV01 | PS 35 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7027-BZS01 | PS 36 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7027-BZS02 | PS 36 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7027-QXV01 | PS 36 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7028-BZS01 | PS 37 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7028-BZS02 | PS 37 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7028-QXV01 | PS 37 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7029-BZS01 | PS 38 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7029-BZS02 | PS 38 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7029-QXV01 | PS 38 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7030-BZS01 | PS 39 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7030-BZS02 | PS 39 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7030-QXV01 | PS 39 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7031-BZS01 | PS 40 | Pneumatic Slide | Reed switch - 3 wire - close |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7031-BZS02 | PS 40 | Pneumatic Slide | Reed switch - 3 wire - open |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7031-QXV01 | PS 40 | Pneumatic Slide | Solenoid valve |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7032-MXZ01 | B-CC5 | Chain conveyer drive | Motor (GM) 1440rpm |  | 5.5 | 11.2 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 7032-BZS01 | B-CC5 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 7032-BZA01 | B-CC5 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7033-MXZ01 | B-CC10 | Chain conveyer drive | Motor (GM) 1440rpm |  | 5.5 | 11.2 | 400VAC 50Hz | Customer Supply |  | Plant | +0.00m | [9 empty] | 1
| 0 | 7033-BZS01 | B-CC10 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 3 | 7033-BZA01 | B-CC10 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 0 | 7034-MXZ01 | B-E6 | Bucket Elevator Drive | Motor (GM) 1440rpm |  | 5.5 | 11.2 | 400VAC 50Hz | Customer Supply |  | Plant | +10.00m | [9 empty] | 1
| 0 | 7034-BSA01 | B-E6 | Bucket Elevator Speed Monitor | Zero speed monitor |  |  |  | 24VDC | Customer Supply |  | Plant | +0.00m
| 4 | 7035-MXZ01 | B-CC11 | Chain conveyer drive | Motor (GM) 1440rpm |  | 5.5 | 11.2 | 400VAC 50Hz | Customer Supply- New Supply |  | Plant | +0.00m | [9 empty] | 1
| 4 | 7035-BZS01 | B-CC11 | Chain conveyor overflow flap | Limit switch |  |  |  | 24VDC | Customer Supply- New Supply |  | Plant | +0.00m
| 4 | 7035-BZA01 | B-CC11 | Chain conveyor Speed Monitor | Speed Monitor |  |  |  | 24VDC | Customer Supply- New Supply |  | Plant | +0.00m

## Sheet3
Number | Schrank Aufstellungsort Feldkasten Stockwerk
0001-MXZ01 | JB01 - MCC Room - Level 1
0001-BPS01 | JB02 - MCC Room - Level 2
0001-KCU01 | JB03 - MCC Room - Level 3
0001-KCU02 | JB04 - MCC Room - Level 1
1001-BZS01 | JB05 - MCC Room - Level 2
1001-BZS02 | JB06 - MCC Room - Level 3
1001-QXV01 | JB07 - MCC Room - Level 1
1002-MXZ01 | JB08 - MCC Room - Level 2
1002-BSA01 | JB09 - MCC Room - Level 3
1003-BZS01 | JB10 - MCC Room - Level 1
1003-BZS02 | JB11 - MCC Room - Level 2
1003-QXV01 | JB12 - MCC Room - Level 3
1003-QXV02 | JB13 - MCC Room - Level 1
1004-BLH01 | JB14 - MCC Room - Level 2
1005-BLL01 | JB15 - MCC Room - Level 3
1006-BZS01 | JB16 - MCC Room - Level 1
1006-BZS02 | JB17 - MCC Room - Level 2
1006-QXV01 | JB18 - MCC Room - Level 3
1007-PWC01 | JB19 - MCC Room - Level 1
1008-MXZ01 | JB20 - MCC Room - Level 2
1008-BSA01 | JB21 - MCC Room - Level 3
1009-MXZ01 | JB22 - MCC Room - Level 1
1009-BZS01 | JB23 - MCC Room - Level 2
1010-BZS01 | JB24 - MCC Room - Level 3
1010-BZS02 | JB25 - MCC Room - Level 1
1010-QXV01 | JB26 - MCC Room - Level 2
1011-BLH01 | JB27 - MCC Room - Level 3
1012-BLH01 | JB28 - MCC Room - Level 1
1013-BLL01 | JB29 - MCC Room - Level 2
1014-BLL01 | JB30 - MCC Room - Level 3
1015-PWC01 | JB31 - MCC Room - Level 1
1016-PWC01 | JB32 - MCC Room - Level 2
1017-MXZ01 | JB33 - MCC Room - Level 3
1017-BZS01 | JB34 - MCC Room - Level 1
1018-MXZ01 | JB35 - MCC Room - Level 2
1018-BSA01 | JB36 - MCC Room - Level 3
1019-BLH01 | JB37 - MCC Room - Level 1
1020-BLL01 | JB38 - MCC Room - Level 2
1021-BZS01 | JB39 - MCC Room - Level 3
1021-BZS02 | JB40 - MCC Room - Level 1
1021-QXV01 | JB41 - MCC Room - Level 2
1022-MXZ01 | JB42 - MCC Room - Level 3
1022-MXZ02 | JB43 - MCC Room - Level 1
1022-QXV01 | JB44 - MCC Room - Level 2
1023-PWC01 | JB45 - MCC Room - Level 3
1024-PWC01 | JB46 - MCC Room - Level 1
1025-MXZ01 | JB47 - MCC Room - Level 2
1025-BSA01 | JB48 - MCC Room - Level 3
1026-MXZ01 | JB49 - MCC Room - Level 1
1026-KCU01 | JB50 - MCC Room - Level 2
1026-BZS01 | JB51 - MCC Room - Level 3
1026-BZS02 | JB52 - MCC Room - Level 1
1027-BLH01 | JB53 - MCC Room - Level 2
1028-BLL01 | JB54 - MCC Room - Level 3
1029-BZS01 | JB55 - MCC Room - Level 1
1029-BZS02 | JB56 - MCC Room - Level 2
1029-QXV01 | JB57 - MCC Room - Level 3
1030-MXZ01 | JB58 - MCC Room - Level 1
1030-MXZ02 | JB59 - MCC Room - Level 2
1030-EXL01 | JB60 - MCC Room - Level 3
1031-MXZ01 | JB61 - MCC Room - Level 1
1031-BZS01 | JB62 - MCC Room - Level 2
1031-BZA01 | JB63 - MCC Room - Level 3
1032-MXZ01 | JB64 - MCC Room - Level 1
1033-BPS01 | JB65 - MCC Room - Level 2
1034-MXZ01 | JB66 - MCC Room - Level 3
1035-KFC01 | JB67 - MCC Room - Level 1
1035-QXV01 | JB68 - MCC Room - Level 2
1035-KLL01 | JB69 - MCC Room - Level 3
1035-KFL01 | JB70 - MCC Room - Level 1
1036-BDE01 | JB71 - MCC Room - Level 2
1037-MXZ01 | JB72 - MCC Room - Level 3
1038-QXV01 | JB73 - MCC Room - Level 1
1039-MXZ01 | JB74 - MCC Room - Level 2
1040-KFC01 | JB75 - MCC Room - Level 3
1040-QXV01 | JB76 - MCC Room - Level 1
1040-KLL01 | JB77 - MCC Room - Level 2
1040-KFL01 | JB78 - MCC Room - Level 3
1041-BDE01 | JB79 - MCC Room - Level 1
1042-MXZ01 | JB80 - MCC Room - Level 2
1043-MXZ01 | JB81 - MCC Room - Level 3
1043-BZS01 | JB82 - MCC Room - Level 1
1044-MXZ01 | JB83 - MCC Room - Level 2
1044-BSA01 | JB84 - MCC Room - Level 3
1045-BZS01 | JB85 - MCC Room - Level 1
1045-BZS02 | JB86 - MCC Room - Level 2
1045-QXV01 | JB87 - MCC Room - Level 3
1045-QXV02 | JB88 - MCC Room - Level 1
1046-MXZ01 | JB89 - MCC Room - Level 2
1047-MXZ01 | JB90 - MCC Room - Level 3
1048-MXZ01 | JB91 - MCC Room - Level 1
1049-MXZ01 | JB92 - MCC Room - Level 2
1050-MXZ01 | JB93 - MCC Room - Level 3
2001-BZS01 | JB94 - MCC Room - Level 1
2001-BZS02 | JB95 - MCC Room - Level 2
2001-QXV01 | JB96 - MCC Room - Level 3
2002-BZS01 | JB97 - MCC Room - Level 1
2002-BZS02 | JB98 - MCC Room - Level 2
2002-QXV01 | JB99 - MCC Room - Level 3
2003-MXZ01 | JB100 - MCC Room - Level 1
2003-VA01 | JB101 - MCC Room - Level 2
2004-MXZ01 | JB102 - MCC Room - Level 3
2004-BSA01 | JB103 - MCC Room - Level 1
2005-BZS01 | JB104 - MCC Room - Level 2
2005-BZS02 | JB105 - MCC Room - Level 3
2005-QXV01 | JB106 - MCC Room - Level 1
2005-QXV02 | JB107 - MCC Room - Level 2
2006-BZS01 | JB108 - MCC Room - Level 3
2006-BZS02 | JB109 - MCC Room - Level 1
2006-QXV01 | JB110 - MCC Room - Level 2
2007-BZS01 | JB111 - MCC Room - Level 3
2007-BZS02 | JB112 - MCC Room - Level 1
2007-QXV01 | JB113 - MCC Room - Level 2
2008-MXZ01 | JB114 - MCC Room - Level 3
2008-VA01 | JB115 - MCC Room - Level 1
2009-BZS01 | JB116 - MCC Room - Level 2
2009-BZS02 | JB117 - MCC Room - Level 3
2009-QXV01 | JB118 - MCC Room - Level 1
2010-BZS01 | JB119 - MCC Room - Level 2
2010-BZS02 | JB120 - MCC Room - Level 3
2010-QXV01 | JB121 - MCC Room - Level 1
2011-MXZ01 | JB122 - MCC Room - Level 2
2011-VA01 | JB123 - MCC Room - Level 3
2012-MXZ01 | JB124 - MCC Room - Level 1
2013-KFC01 | JB125 - MCC Room - Level 2
2013-QXV01 | JB126 - MCC Room - Level 3
2013-KLL01 | JB127 - MCC Room - Level 1
2013-KFL01 | JB128 - MCC Room - Level 2
2014-BDE01 | JB129 - MCC Room - Level 3
2015-MXZ01 | JB130 - MCC Room - Level 1
2016-MXZ01 | JB131 - MCC Room - Level 2
2016-BSA01 | JB132 - MCC Room - Level 3
2017-BZS01 | JB133 - MCC Room - Level 1
2017-BZS02 | JB134 - MCC Room - Level 2
2017-QXV01 | JB135 - MCC Room - Level 3
2017-QXV02 | JB136 - MCC Room - Level 1
2018-BLH01 | JB137 - MCC Room - Level 2
2019-BLL01 | JB138 - MCC Room - Level 3
2020-BLH01 | JB139 - MCC Room - Level 1
3001-BLH01 | JB140 - MCC Room - Level 2
3002-PWC01 | JB141 - MCC Room - Level 3
3003-BLH01 | JB142 - MCC Room - Level 1
3004-BLL01 | JB143 - MCC Room - Level 2
3005-BLH01 | JB144 - MCC Room - Level 3
3006-BLH01 | JB145 - MCC Room - Level 1
3007-PWC01 | JB146 - MCC Room - Level 2
3008-MXZ01 | JB147 - MCC Room - Level 3
3008-BSA01 | JB148 - MCC Room - Level 1
3009-MXZ01 | JB149 - MCC Room - Level 2
3009-BSA01 | JB150 - MCC Room - Level 3
3010-MXZ01 | JB151 - MCC Room - Level 1
3010-BSA01 | JB152 - MCC Room - Level 2
3011-PWC01 | JB153 - MCC Room - Level 3
3012-BLH01 | JB154 - MCC Room - Level 1
3013-BLL01 | JB155 - MCC Room - Level 2
3014-BZS01 | JB156 - MCC Room - Level 3
3014-BZS02 | JB157 - MCC Room - Level 1
3014-QXV01 | JB158 - MCC Room - Level 2
3015-MXZ01 | JB159 - MCC Room - Level 3
3015-BSA01 | JB160 - MCC Room - Level 1
4001-BZS01 | JB161 - MCC Room - Level 2
4001-BZS02 | JB162 - MCC Room - Level 3
4001-QXV01 | JB163 - MCC Room - Level 1
4002-BZS01 | JB164 - MCC Room - Level 2
4002-BZS02 | JB165 - MCC Room - Level 3
4002-QXV01 | JB166 - MCC Room - Level 1
4003-BZS01 | JB167 - MCC Room - Level 2
4003-BZS02 | JB168 - MCC Room - Level 3
4003-QXV01 | JB169 - MCC Room - Level 1
4004-MXZ01 | JB170 - MCC Room - Level 2
4005-MXZ01 | JB171 - MCC Room - Level 3
4006-MXZ01 | JB172 - MCC Room - Level 1
4007-MXZ01 | JB173 - MCC Room - Level 2
4007-BSA01 | JB174 - MCC Room - Level 3
4008-BZS01 | JB175 - MCC Room - Level 1
4008-BZS02 | JB176 - MCC Room - Level 2
4008-QXV01 | JB177 - MCC Room - Level 3
4008-QXV02 | JB178 - MCC Room - Level 1
4009-PWC01 | JB179 - MCC Room - Level 2
4009-BLH01 | JB180 - MCC Room - Level 3
4010-MXZ01 | JB181 - MCC Room - Level 1
4010-BSA01 | JB182 - MCC Room - Level 2
4011-BZS01 | JB183 - MCC Room - Level 3
4011-BZS02 | JB184 - MCC Room - Level 1
4011-QXV01 | JB185 - MCC Room - Level 2
4011-QXV02 | JB186 - MCC Room - Level 3
4012-PWC01 | JB187 - MCC Room - Level 1
4012-BLH01 | JB188 - MCC Room - Level 2
4013-MXZ01 | JB189 - MCC Room - Level 3
4013-BSA01 | JB190 - MCC Room - Level 1
5001-MXZ01 | JB191 - MCC Room - Level 2
5001-BSA01 | JB192 - MCC Room - Level 3
5002-BLH01 | JB193 - MCC Room - Level 1
5003-BLL01 | JB194 - MCC Room - Level 2
5004-BZS01 | JB195 - MCC Room - Level 3
5004-BZS02 | JB196 - MCC Room - Level 1
5004-QXV01 | JB197 - MCC Room - Level 2
5005-PWC01 | JB198 - MCC Room - Level 3
5006-MXZ01 | JB199 - MCC Room - Level 1
5006-BSA01 | JB200 - MCC Room - Level 2
5007-BZS01 | JB201 - MCC Room - Level 3
5007-BZS02 | JB202 - MCC Room - Level 1
5007-QXV01 | JB203 - MCC Room - Level 2
5007-QXV02 | JB204 - MCC Room - Level 3
5008-BLH01 | JB205 - MCC Room - Level 1
5009-BLH01 | JB206 - MCC Room - Level 2
5010-BLL01 | JB207 - MCC Room - Level 3
5011-BLL01 | JB208 - MCC Room - Level 1
5012-BZS01 | JB209 - MCC Room - Level 2
5012-BZS02 | JB210 - MCC Room - Level 3
5012-QXV01 | JB211 - MCC Room - Level 1
5013-BZS01 | JB212 - MCC Room - Level 2
5013-BZS02 | JB213 - MCC Room - Level 3
5013-QXV01 | JB214 - MCC Room - Level 1
5014-MXZ01 | JB215 - MCC Room - Level 2
5014-BZS01 | JB216 - MCC Room - Level 3
5014-BZA01 | JB217 - MCC Room - Level 1
5015-BSA01 | JB218 - MCC Room - Level 2
5016-BLH01 | JB219 - MCC Room - Level 3
5017-BLL01 | JB220 - MCC Room - Level 1
5018-BZS01 | JB221 - MCC Room - Level 2
5018-BZS02 | JB222 - MCC Room - Level 3
5018-QXV01 | JB223 - MCC Room - Level 1
5019-MXZ01 | JB224 - MCC Room - Level 2
5019-MXZ02 | JB225 - MCC Room - Level 3
5019-QXV01 | JB226 - MCC Room - Level 1
5020-PWC01 | JB227 - MCC Room - Level 2
5021-PWC01 | JB228 - MCC Room - Level 3
5022-MXZ01 | JB229 - MCC Room - Level 1
5022-BSA01 | JB230 - MCC Room - Level 2
5023-BLH01 | JB231 - MCC Room - Level 3
5024-BLL01 | JB232 - MCC Room - Level 1
5025-BZS01 | JB233 - MCC Room - Level 2
5025-BZS02 | JB234 - MCC Room - Level 3
5025-QXV01 | JB235 - MCC Room - Level 1
5026-PWC01 | JB236 - MCC Room - Level 2
5027-MXZ01 | JB237 - MCC Room - Level 3
5027-BSA01 | JB238 - MCC Room - Level 1
5028-BZS01 | JB239 - MCC Room - Level 2
5028-BZS02 | JB240 - MCC Room - Level 3
5028-QXV01 | JB241 - MCC Room - Level 1
5028-QXV02 | JB242 - MCC Room - Level 2
5029-MXZ01 | JB243 - MCC Room - Level 3
5030-KFC01 | JB244 - MCC Room - Level 1
5030-QXV01 | JB245 - MCC Room - Level 2
5030-KLL01 | JB246 - MCC Room - Level 3
5030-KFL01 | JB247 - MCC Room - Level 1
5031-BDE01 | JB248 - MCC Room - Level 2
5032-MXZ01 | JB249 - MCC Room - Level 3
6001-MXZ01 | JB250 - MCC Room - Level 1
6001-BZS01 | JB251 - MCC Room - Level 2
6001-BZA01 | JB252 - MCC Room - Level 3
6002-BZS01 | JB253 - MCC Room - Level 1
6002-BZS02 | JB254 - MCC Room - Level 2
6002-QXV01 | JB255 - MCC Room - Level 3
6003-MXZ01 | JB256 - MCC Room - Level 1
6003-BSA01 | JB257 - MCC Room - Level 2
6004-BZS01 | JB258 - MCC Room - Level 3
6004-BZS02 | JB259 - MCC Room - Level 1
6004-QXV01 | JB260 - MCC Room - Level 2
6004-QXV02 | JB261 - MCC Room - Level 3
6005-MXZ01 | JB262 - MCC Room - Level 1
6005-BZS01 | JB263 - MCC Room - Level 2
6005-BZA01 | JB264 - MCC Room - Level 3
6006-BZS01 | JB265 - MCC Room - Level 1
6006-BZS02 | JB266 - MCC Room - Level 2
6006-QXV01 | JB267 - MCC Room - Level 3
6007-BZS01 | JB268 - MCC Room - Level 1
6007-BZS02 | JB269 - MCC Room - Level 2
6007-QXV01 | JB270 - MCC Room - Level 3
6008-MXZ01 | JB271 - MCC Room - Level 1
6008-BZS01 | JB272 - MCC Room - Level 2
6008-BZA01 | JB273 - MCC Room - Level 3
6009-BZS01 | JB274 - MCC Room - Level 1
6009-BZS02 | JB275 - MCC Room - Level 2
6009-QXV01 | JB276 - MCC Room - Level 3
6010-BZS01 | JB277 - MCC Room - Level 1
6010-BZS02 | JB278 - MCC Room - Level 2
6010-QXV01 | JB279 - MCC Room - Level 3
6011-BLH01 | JB280 - MCC Room - Level 1
6012-BLH01 | JB281 - MCC Room - Level 2
6013-BLH01 | JB282 - MCC Room - Level 3
6014-BLL01 | JB283 - MCC Room - Level 1
6015-BLL01 | JB284 - MCC Room - Level 2
6016-BLL01 | JB285 - MCC Room - Level 3
6017-BZS01 | JB286 - MCC Room - Level 1
6017-BZS02 | JB287 - MCC Room - Level 2
6017-QXV01 | JB288 - MCC Room - Level 3
6018-BZS01 | JB289 - MCC Room - Level 1
6018-BZS02 | JB290 - MCC Room - Level 2
6018-QXV01 | JB291 - MCC Room - Level 3
6019-BZS01 | JB292 - MCC Room - Level 1
6019-BZS02 | JB293 - MCC Room - Level 2
6019-QXV01 | JB294 - MCC Room - Level 3
6020-MXZ01 | JB295 - MCC Room - Level 1
6020-BZS01 | JB296 - MCC Room - Level 2
6020-BZA01 | JB297 - MCC Room - Level 3
6021-BZS01 | JB298 - MCC Room - Level 1
6021-BZS02 | JB299 - MCC Room - Level 2
6021-QXV01 | JB300 - MCC Room - Level 3
6022-MXZ01 | JB301 - MCC Room - Level 1
6022-BSA01 | JB302 - MCC Room - Level 2
6023-BZS01 | JB303 - MCC Room - Level 3
6023-BZS02 | JB304 - MCC Room - Level 1
6023-QXV01 | JB305 - MCC Room - Level 2
6023-QXV02 | JB306 - MCC Room - Level 3
6024-BLH01 | JB307 - MCC Room - Level 1
6025-BLH01 | JB308 - MCC Room - Level 2
6026-BLL01 | JB309 - MCC Room - Level 3
6027-BLL01 | JB310 - MCC Room - Level 1
6028-PWC01 | JB311 - MCC Room - Level 2
6029-PWC01 | JB312 - MCC Room - Level 3
6030-MXZ01 | JB313 - MCC Room - Level 1
6030-BSA01 | JB314 - MCC Room - Level 2
6031-MXZ01 | JB315 - MCC Room - Level 3
6031-MXZ02 | JB316 - MCC Room - Level 1
6032-MXZ01 | JB317 - MCC Room - Level 2
6032-BSA01 | JB318 - MCC Room - Level 3
6033-BLH01 | JB319 - MCC Room - Level 1
7001-BZS01 | JB320 - MCC Room - Level 2
7001-BZS02 | JB321 - MCC Room - Level 3
7001-QXV01 | JB322 - MCC Room - Level 1
7002-MXZ01 | JB323 - MCC Room - Level 2
7002-BZS01 | JB324 - MCC Room - Level 3
7002-BZA01 | JB325 - MCC Room - Level 1
7003-BZS01 | JB326 - MCC Room - Level 2
7003-BZS02 | JB327 - MCC Room - Level 3
7003-QXV01 | JB328 - MCC Room - Level 1
7004-BZS01 | JB329 - MCC Room - Level 2
7004-BZS02 | JB330 - MCC Room - Level 3
7004-QXV01 | JB331 - MCC Room - Level 1
7005-MXZ01 | JB332 - MCC Room - Level 2
7005-BZS01 | JB333 - MCC Room - Level 3
7005-BZA01 | JB334 - MCC Room - Level 1
7006-BZS01 | JB335 - MCC Room - Level 2
7006-BZS02 | JB336 - MCC Room - Level 3
7006-QXV01 | JB337 - MCC Room - Level 1
7007-BZS01 | JB338 - MCC Room - Level 2
7007-BZS02 | JB339 - MCC Room - Level 3
7007-QXV01 | JB340 - MCC Room - Level 1
7008-BLH01 | JB341 - MCC Room - Level 2
7009-BLH01 | JB342 - MCC Room - Level 3
7010-BLH01 | JB343 - MCC Room - Level 1
7011-BLH01 | JB344 - MCC Room - Level 2
7012-BLH01 | JB345 - MCC Room - Level 3
7013-BLH01 | JB346 - MCC Room - Level 1
7014-BLL01 | JB347 - MCC Room - Level 2
7015-BLL01 | JB348 - MCC Room - Level 3
7016-BLL01 | JB349 - MCC Room - Level 1
7017-BLL01 | JB350 - MCC Room - Level 2
7018-BLL01 | JB351 - MCC Room - Level 3
7019-BLL01 | JB352 - MCC Room - Level 1
7020-PWC01 | JB353 - MCC Room - Level 2
7020-PWC02 | JB354 - MCC Room - Level 3
7021-PWC01 | JB355 - MCC Room - Level 1
7021-PWC02 | JB356 - MCC Room - Level 2
7022-PWC01 | JB357 - MCC Room - Level 3
7022-PWC02 | JB358 - MCC Room - Level 1
7023-PWC01 | JB359 - MCC Room - Level 2
7023-PWC02 | JB360 - MCC Room - Level 3
7024-PWC01 | JB361 - MCC Room - Level 1
7024-PWC02 | JB362 - MCC Room - Level 2
7025-PWC01 | JB363 - MCC Room - Level 3
7025-PWC02 | JB364 - MCC Room - Level 1
7026-BZS01 | JB365 - MCC Room - Level 2
7026-BZS02 | JB366 - MCC Room - Level 3
7026-QXV01 | JB367 - MCC Room - Level 1
7027-BZS01 | JB368 - MCC Room - Level 2
7027-BZS02 | JB369 - MCC Room - Level 3
7027-QXV01 | JB370 - MCC Room - Level 1
7028-BZS01 | JB371 - MCC Room - Level 2
7028-BZS02 | JB372 - MCC Room - Level 3
7028-QXV01 | JB373 - MCC Room - Level 1
7029-BZS01 | JB374 - MCC Room - Level 2
7029-BZS02 | JB375 - MCC Room - Level 3
7029-QXV01 | JB376 - MCC Room - Level 1
7030-BZS01 | JB377 - MCC Room - Level 2
7030-BZS02 | JB378 - MCC Room - Level 3
7030-QXV01 | JB379 - MCC Room - Level 1
7031-BZS01 | JB380 - MCC Room - Level 2
7031-BZS02 | JB381 - MCC Room - Level 3
7031-QXV01 | JB382 - MCC Room - Level 1
7032-MXZ01 | JB383 - MCC Room - Level 2
7032-BZS01 | JB384 - MCC Room - Level 3
7032-BZA01 | JB385 - MCC Room - Level 1
7033-MXZ01 | JB386 - MCC Room - Level 2
7033-BZS01 | JB387 - MCC Room - Level 3
7033-BZA01 | JB388 - MCC Room - Level 1
7034-MXZ01 | JB389 - MCC Room - Level 2
7034-BSA01 | JB390 - MCC Room - Level 3
7035-MXZ01 | JB391 - MCC Room - Level 1
7035-BZS01 | JB392 - MCC Room - Level 2
7035-BZA01 | JB393 - MCC Room - Level 3